## 2904_EM2040_DNXXX
THOMAS JEFFERSON
Multibeam Echosounder Calibration |  |  |  | Vessel: 2904 EM2040
Date Acquired:
Processing Log
Date | Dn |  | Personnel
Data converted --> HDCS_Data in CARIS
Delayed Heave applied
SVP applied
SBET applied
| GPS Tide applied |  | VDATUM GPS Tide
Zone file
Lines merged
Data cleaned to remove gross fliers
Compute correctors in this order
1. Precise Timing 2. Pitch bias 3. Heading bias 4. Roll bias
Do not enter/apply correctors until all evaluations are complete and analyzed.
PATCH TEST RESULTS/CORRECTORS
Evaluators |  | Latency Lines Used | Latency (sec) | Pitch Lines Used | Pitch (deg) | Roll Lines Used | Roll (deg) | Yaw Lines Used | Yaw (deg)
Averages |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Standard Deviation |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
FINAL VALUES |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
Final Values based on
Resulting HVF File Name
|  |  | MRU Align StdDev gyro | #DIV/0! | Value from standard deviation of Heading offset values
|  |  | MRU Align StdDev Roll/Pitch | #DIV/0! | Value from averaged standard deviations of pitch and roll offset values
NARRATIVE
POSMV updated with current offsets
Hydrographic Vessel File updated with current TPU offsets
| Name: | [6 empty] | Date: